Prospect at Goding

920 F Street, NE

Walk through 1

2/17/04

Observations:

4th Floor:

Room:

410- appears ok

408 – tile damage  rear of room window area, but possibly from roof

407 -  appears ok

Boys/Girls bathrooms – large trench-like opening in ceiling, needs scraping and painting (large amount of peeling paint)

406 – ceiling leak – no obvious; floor tile damage

405 – appears ok

404 – 2 pieces of tile needs replacing

403 – appears ok

402 – tile damage in corner

401 – appears ok

3rd Floor:

Room:

Library – needs new carpet

307 – whole floor appears to have been damaged by the elements

Boys/Girls Bathrooms – large gap in the ceiling- much peeling of paint – needs scraping and painting

306 – floor damage – ½ the room

305 – floor damage ¾ of area

304 – middle of the floor water damage (1/2 tile0

303 – 12/ floor indicating damage

302 – appears ok

301 – spots of damage near window area

2nd Floor:

Room:

201 – wet spots noted from windows

202 – floor requires good cleaning

203 – appears ok

202B – appears ok

205 – appears ok

204 – appears ok

Boys/Girls bathroom – ceiling trench, peeling paint

206A&B – science room- room divider needs replacing

1st Floor:

Room:

Main Office – ok

Principal’s Office – appears ok

Health Suite – appears ok

106 – partial 3 or 4 rows of tile needs replacement

Boys and Girls bathroom = ceiling trench- needs scraping and painting

105 – approx. 3 tiles need replacement

Staff Lounge – center of room needs retiling

104 – appears ok

103 – appears ok

102 – appears ok

101 – appears ok

Back hall, landings and stairway much tile repair needed and paint peeling

Basement Level (lower area)

Room:

B-1 -  6x6 tile area needs replacement

B-2 – tile has problem areas

Custodial storage – cement floor – damp but ok – supplies on pallets

Custodial Office – appears ok

Large storage room- wet- leak from somewhere

Boys and Girls Bathrooms – peeling paint

CAFETERIA- total floor damaged

Walk through 2

3/3/04

Observations/Notes:

Auditorium:  Window leakage causing walls below to crust and flake.  Glazed base not consistent on that side. Walls need resealing in that area, plastering and painting.  No air conditioning in auditorium.  Can be extremely hot.

Replacement lockers needed throughout the building in the classroom areas. Single lockers seen as most applicable to student population and needs. 12 to each classroom.

Storage areas lacking in classrooms. Secure storage cabinets—not necessarily metal.

Acoustical tile replacement throughout building essential—cut down noise and improves appearance.  Painting of all areas critical.  May not be a large job because of the tile in specific areas that extends more than halfway up the walls, particularly in hallways and bathrooms.

Bathrooms will require painting.  Make end stall ADA accessible in all student bathrooms.  Currently, only two bathrooms on the first floor are ADA accessible and were renovated because Prospect/Goding is a polling precinct.

Reportedly, classrooms will not be provided with any new electrical outlets and the upgrading of electrical power service to decrease the previous problems with brownouts/blackouts may be resolved because the demand for power will decrease with new heating/conditioning units???  At one time we  were informed that we needed a new dedicated electrical panel to meet our needs in the area of expanding technology.

Wireless capabilities will be made available by September.

Security system not operational and front door monitoring not available.

Question regarding carpet/vinyl combination in classrooms or all vinyl or all carpet.  Which would serve the school better?

Library requires new carpeting and definitely bookcases.  (Dr. Bester Bonner is the Director of Library Services for DCPS.

Room 307: What is the wood panel on the wall covering?

Science Room 206 A and B: Remove gas stove from room.  It appears to have been capped off. Replace moveable room divider.

Do clocks throughout building require replacement?  Intercom/PA system was in good working order at time of building closure.  Need to have it checked out.

Room 204: requires chalkboard be re-affixed or are new chalkboards required throughout building?

Loose tiles on back stairs.  Peeling and chipping paint.  Stairwell windows need to be looked at.  Plexiglas is discolored on a few of them.

Side roof near auditorium in critical need of replacement.  Expand scope of work or initiate new one.

Elevator repair critical.  Dan at Kramer contact to obtain services of Maryland Elevator Company.  We will follow up with contact to request immediate repairs. Repairs can be done M-Thu when work is underway in building.

Cafeteria needs retiling and repainting.  Acoustical tile also essential.  NO AIR CONDITIONING in room and it is very uncomfortable in warm weather months.

Lighting/fixtures throughout building need replacement.

B-1 has plumbing problem under floor.  Water level has a history of rising, particularly when heating system is in use.   Hot, steamy water makes room especially uncomfortable.  Apparent pipe leak somewhere.

Playground needs complete refurbishing.  Focus in on exercise stations, particularly for older students.    Seek adaptable equipment for younger students that meet specific needs based on disabilities.